## Sheet1
Date | Flasher | Resistance | Lens use | num_trace | data_start | data_stop | pixels | Frequency | Output CSV file | Output graph | Comments
2019-09-04 | Flasher 9 | 2.5k | Yes, 10% | 300 | ﻿49820 | ﻿50150 | 144 | 20 Hz | flasher_fwhm_potf9_2p5k_ndf_OD1_Sep4_long_144mm2.csv | flasher_levels_2p5_Sep4_long.pdf | Reajusted connection on computer, removed protection from lens. Run went smoothly
2019-09-04 | Flasher 9 | 4.0k | Yes, 10% | 300 | ﻿49820 | ﻿50150 | 144 | 20 Hz | flasher_fwhm_potf9_4k_ndf_OD1_Sep4_long_144mm2.csv | flasher_levels_4k_Sep4_long.pdf
2019-09-04 | Flasher 9 | 5.5k | Yes, 10% | 300 | ﻿49820 | ﻿50150 | 144 | 20 Hz | flasher_fwhm_potf9_5p5k_ndf_OD1_Sep4_long_144mm2.csv | flasher_levels_5p5k_Sep4_long.pdf
2019-09-09 | Flasher 4 | 6k | Yes, 1% | 300 | ﻿49820 | ﻿50150 | 144 | 20 Hz |  |  | Test did not work, a wire broke while setting up