## NevisLabsEquipment
| Description | Quantity | Ownership | Notes
1 | DellTower-3630 | 1 | Barnard
2 | Dell Keyboard | 1 | Barnard
3 | Dell Mouse | 1 | Barnard
4 | Monitor | 1 | Nevis - office 108
5 | Fan | 1 | Nevis - CTA lab
6 | CTC Media Converter | 1 | INFN-Pisa
7 | CTC Media Converter switch mode power supply | 1 | INFN-Pisa?
8 | Fiber (with white caps) | 1 | INFN-Pisa | Caps are in box on shelf
9 | CTC Media Converter power cable | 1 | Nevis - office 108
10 | Adapter board | 1 | UW-Madison
11 | FINISAR transceiver (with black cap) | 2 | Barnard | Cap is in box on shelf
12 | FEE modules | 1 | INFN-Pisa
13 | FEE modules and adapter spacers | 8 | INFN-Pisa
14 | Samtec cables | 2 | INFN-Pisa
15 | BOB | 2 | INFN-Pisa
16 | BOB spacers | 8 | INFN-Pisa
17 | Fan-out boards | 3 | INFN-Pisa
18 | Fan-out boards lemo cables (x24/each) | 3 | INFN-Pisa
19 | Fan-out boards power cables |  | INFN-Pisa
20 | Pulser to fan-out boards cables (1-->3) | 1 | INFN-Pisa
21 | Scope | 1 | Barnard? | Was in Nevis - office 108
22 | BNC plug to SMA jack adapter | 2 | Barnard
23 | NIM-CAM JACK-BNC PLUG | 2 | Barnard
24 | RF terminator BNC Plug 50Ohm | 2 | Barnard
25 | Tee 50Ohm RF Adapt BNC Plug to BNC plug | 2 | Barnard
26 | CBL ASSY SMA PLUG RG316 DS 4' | 2 | Barnard
27 | CBL ASSY BCN PLUG-PLUG RG58 10' | 2 | Barnard
28 | Pasco SF-9584A | 1 | Barnard
29 | RIGOLDG5072 | 1 | Barnard
30 | Aim-Tti CPX400DP | 1 | Barnard
31 | BNC plug to BNC plug straight connector | 1 | Nevis - room 84 | AKA room of requirement
32 | Bucket with assorted connectors | 1 | Nevis - room 84 | AKA room of requirement
33 | Soldering station WES51 | 1 | Nevis - CTA lab
34 | Solder wire | 1 | Nevis - CTA lab
35 | Desoldering pump | 1 | Nevis - CTA lab
36 | Antistatic mat | 1 | Nevis - room 84 | AKA room of requirement
37 | Antistatic wire strap | 1 | Nancy?
38 | Assorted connectors in white bucket |  | Nevis - room 84 | AKA room of requirement
39 | Hamamatsu tile | 1 | GATECH
40 | Brass post + matrices plastic holder + foam spacer + plastic spacer | 1 | GATECH
41 | 16-channels FBK SiPM matrices | 2 | Bari
42 | SMART pre-amplification boards | 2 | Bari
43 | SAMTEC cables (matrices) | 1 | Bari
44 | Plastic spacer | 1 | Bari
45 | Interface board with cables | 1 | Bari
46 | Thorlabs dark box (1200x600) | 1 | Barnard
47 | SiPM+brass post holder | 1 | Barnard | Design: Mongelli, Bari
48 | APC UPS, Model: SMT1500US | 1 | Barnard
49 | TTi Power Supply EL302P-USB | 1 | Barnard
50 | PicoQuant Laser Driver PDL800-B | 1 | Barnard
51 | PicoQuant PLS 8-2-359 laser head | 1 | Barnard | Peak wl 456 nm, spectral width 25 nm, pulse width < 1ns